## Slide 1: General Free-falling Particle Receiver (Updated)
Aperture Window
Top View:
Aperture Window
Particle Curtain
Aperture Width
1. Flat Curtain
Particle Curtain
Radius of Curtain Curvature
Aperture Window
Curtain Width
2. Curved Curtain
Curtain Width
Particle Curtain
Particles Releasing
Height of ith Trough
Cavity Depth
Radiation
Aperture Height
Side View:
Particles Exiting
Depth of ith Trough
Total Curtain Height

## Slide 2: With and Without SNOUT
SolarPILOT should be able to toggle the SNOUT on and off?
When on, acceptance angles should be constrained
When off, constraints can be removed
Aperture Window
SNOUT
Bottom Vertical Angle
Depth
Side View:
Radiation
Top Vertical Angle
Top View:
Aperture Window
Horizontal Angle
Zero horizontal angle will result in parallel SNOUT sides
SNOUT

## Slide 3: Radius sets the back curtain curvature
This is how it is implemented.
Radius is adjusted as curtain depth changes